## Overview
SHS | Regulatory Framework for PIVOT SP
| 2021-11-09 |  | Notes | Reference
| 1. | Technical documentation
|  | Definitions |  | IMDRF/SaMD WG/N10FINAL:2013 “Software as a Medical Device”: Key Definitions
|  | Product Classification | SAHPRA Guideline 8.05 | IMDRF/SaMD WG/N12FINAL:2014 “Software as a Medical Device”: Possible Framework for Risk Categorization and Corresponding Considerations
Design file
Intended purpose
User Profile
Verification
(Software) Validation
Usability study
|  | Evaluation |  | IMDRF/SaMD WG/N41FINAL:2017 Software as a Medical Device (SaMD): Clinical Evaluation
Risk assessment report - ISO14971
|  | Essential Principles Safety & Performance Check list | SAHPRA 8.02 Essential Principles | Check list to be completed (using template)
|  | QMS - ISO13485:2016 |  | IMDRF/SaMD WG/N23 FINAL: 2015 “Software as a Medical Device”: Application of Quality Management System
| 2. | Approach NRL
| 3. | Present motivation at SAHPRA meeting (end Nov?)
| MD13 | Locally manufactured IVD (for use with COVID19 test)
| 1 | Performance Evaluation by NRL - MD011 22July2020 (clause 12 & 13 - locally manufactured) | Prepare draft protocol
| 2 | SAHPRA Licence Application MD001
| 3 | SAHPRA Licence and Section 21 Authorisation issued
| 4 | Authorisation for Use

## Technical File
SHS | Technical file
|  | Notes | Reference
|  | IMDRF IVD Market Authroisation Tabel Contents | imdrf-tech-190321-ivd-mdma-toc-n13.docx (live.com)
CHAPTER 1 – REGIONAL ADMINISTRATIVE
| 1.01 | Cover Letter
| 1.02 | Submission Table of Contents
| 1.03 | List of Terms/Acronyms
| 1.04 | Application Form/Administrative Information
| 1.05 | Listing of Device(s)
| 1.06 | Quality Management System, Full Quality System or other Regulatory Certificates
| 1.07 | Free Sale Certificate/ Certificate of Marketing authorization
| 1.08 | Expedited Review Documentation
| 1.09 | User Fees
| 1.10 | Pre-Submission Correspondence and Previous Regulator Interactions
| 1.11 | Acceptance for Review Checklist
| 1.12 | Statements/Certifications/Declarations of Conformity
| 1.12.01 | Performance and Voluntary Standard
| 1.12.02 | Environmental Assessment
| 1.12.03 | Clinical Trial Certifications
| 1.12.04 | Indications for Use Statement with Rx and/or OTC designation Enclosure
| 1.12.05 | Truthful and Accurate Statement
| 1.12.06 | Declaration of Conformity
| 1.13 | Letters of Reference for Master Files
| 1.14 | Letter of Authorization
| 1.15 | Other Regional Administrative Information
CHAPTER 2 – SUBMISSION CONTEXT
| 2.01 | Chapter Table of Contents
| 2.02 | General Summary of Submission
| 2.03 | Summary and Certifications for Premarket Submissions
| 2.04 | Device Description
| 2.04.01 | Comprehensive Device Description and Principle of Operation
| 2.04.02 | Material Specifications
| 2.04.03 | Description of Device Packaging
| 2.04.04 | History of Development
| 2.04.05 | Reference and Comparison to Similar and/or Previous Generations of the Device
| 2.04.06 | Substantial Equivalence Discussion
| 2.05 | Indications for Use and/or Intended Use
| 2.05.01 | Intended Use; Intended Purpose; Intended User; Indications for Use
| 2.05.02 | Intended Environment/Setting for use
| 2.05.03 | Pediatric Use
| 2.05.04 | Contraindications for Use
| 2.06 | Global Market History
| 2.06.01 | Global Market History
| 2.06.02 | Global Incident Reports and Recalls
| 2.06.03 | Sales, Incident and Recall Rates
| 2.06.04 | Evaluation/Inspection Reports
| 2.07 | Other Submission Context Information
CHAPTER 3 – ANALYTICAL PERFORMANCE AND OTHER EVIDENCE
| 3.01 | Chapter Table of Contents
| 3.02 | Risk Management
| 3.03 | Essential Principles (EP) Checklist
| 3.04 | Standards
| 3.04.01 | List of Standards
| 3.04.02 | Declaration and/or Certification of Conformity
| 3.05 | Analytical Performance
| 3.05.01 | Stability of Sample(s)
| 3.05.01.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.05.01.01.01 | Summary
| 3.05.01.01.02 | Full Report
| 3.05.01.01.03 | Statistical Data
| 3.05.02 | Validation of Specimens
| 3.05.02.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.05.02.01.01 | Summary
| 3.05.02.01.02 | Full Report
| 3.05.02.01.03 | Statistical Data
| 3.05.03 | Metrological traceability of calibrator and control material values
| 3.05.03.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.05.03.01.01 | Summary
| 3.05.03.01.02 | Full Report
| 3.05.03.01.03 | Statistical Data
| 3.05.04 | Accuracy of Measurement
| 3.05.04.01 | Trueness
| 3.05.04.01.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.05.04.01.01.01 | Summary
| 3.05.04.01.01.02 | Full Report
| 3.05.04.01.01.03 | Statistical Data
| 3.05.04.02 | Precision (Repeatability and Reproducibility)
| 3.05.04.02.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.05.04.02.01.01 | Summary
| 3.05.04.02.01.02 | Full Report
| 3.05.04.02.01.03 | Statistical Data
| 3.05.05 | Analytical Sensitivity
| 3.05.05.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.05.05.01.01 | Summary
| 3.05.05.01.02 | Full Report
| 3.05.05.01.03 | Statistical Data
| 3.05.06 | Analytic Specificity
| 3.05.06.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.05.06.01.01 | Summary
| 3.05.06.01.02 | Full Report
| 3.05.06.01.03 | Statistical Data
| 3.05.07 | High Dose Hook Effect
| 3.05.07.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.05.07.01.01 | Summary
| 3.05.07.01.02 | Full Report
| 3.05.07.01.03 | Statistical Data
| 3.05.08 | Measuring Range of the Assay
| 3.05.08.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.05.08.01.01 | Summary
| 3.05.08.01.02 | Full Report
| 3.05.08.01.03 | Statistical Data
| 3.05.09 | Validation of Assay Cut-off
| 3.05.09.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.05.09.01.01 | Summary
| 3.05.09.01.02 | Full Report
| 3.05.09.01.03 | Statistical Data
| 3.05.10 | Validation of the Assay Procedure
| 3.05.10.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.05.10.01.01 | Summary
| 3.05.10.01.02 | Full Report
| 3.05.10.01.03 | Statistical Data
| 3.06 | Other Studies
| 3.06.01 | Electrical Systems: Safety, Mechanical and Environmental Protection, and Electromagnetic Compatibility
| 3.06.01.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.06.01.01.01 | Summary
| 3.06.01.01.02 | Full Report
| 3.06.01.01.03 | Statistical Data
| 3.06.02 | Software/Firmware
| 3.06.02.01 | Software/Firmware Description
| 3.06.02.02 | Hazard Analysis
| 3.06.02.03 | Software Requirement Specification
| 3.06.02.04 | Architecture Design Chart
| 3.06.02.05 | Software Design Specification
| 3.06.02.06 | Traceability Analysis
| 3.06.02.07 | Software Life Cycle Process Description
| 3.06.02.08 | Software Verification and Validation
| 3.06.02.08.01 | [Study description, study identifier, date of initiation]
| 3.06.02.08.01.01 | Summary
| 3.06.02.08.01.02 | Full Report
| 3.06.02.08.01.03 | Statistical Data
| 3.06.02.09 | Revision Level History
| 3.06.02.10 | Unresolved Anomalies (Bugs or Defects)
| 3.06.02.11 | Cybersecurity
| 3.06.02.12 | Interoperability
| 3.06.03 | Cleaning and Disinfection Validation
| 3.06.3.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.06.3.01.01 | Summary
| 3.06.3.01.02 | Full Report
| 3.06.3.01.03 | Statistical Data
| 3.06.04 | Usability/Human Factors
| 3.06.04.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.06.04.01.01 | Summary
| 3.06.04.01.02 | Full Report
| 3.06.04.01.03 | Statistical Data
| 3.06.05 | Stability of the IVD
| 3.06.05.01 | Claimed Shelf-life
| 3.06.05.01.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.06.05.01.01.01 | Summary
| 3.06.05.01.01.02 | Full Report
| 3.06.05.01.01.03 | Statistical Data
| 3.06.05.02 | In Use Stability
| 3.06.05.02.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.06.05.02.01.01 | Summary
| 3.06.05.02.01.02 | Full Report
| 3.06.05.02.01.03 | Statistical Data
| 3.06.05.03 | Shipping Stability
| 3.06.05.3.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.06.05.3.01.01 | Summary
| 3.06.05.3.01.02 | Full Report
| 3.06.05.3.01.03 | Statistical Data
| 3.07 | Analytical Performance and Other Evidence Bibliography
| 3.08 | Other Evidence
| 3.08.01 | [Study description, study identifier, date of initiation, date of completion]
| 3.08.01.01 | Summary
| 3.08.01.02 | Full Report
| 3.08.01.03 | Statistical Data
CHAPTER 4 – CLINICAL EVIDENCE
| 4.01 | Chapter Table of Contents
| 4.02 | Overall Clinical Evidence Summary
| 4.02.01 | Expected Values/Reference Ranges
| 4.02.02 | Clinical Evidence Evaluation Report |  | IMDRF/SaMD WG/N41FINAL:2017 Software as a Medical Device (SaMD): Clinical Evaluation
| 4.02.03 | Device Specific Clinical Studies
| 4.02.03.01 | [Study description, protocol #, date of initiation, date of completion]
| 4.02.03.01.01 | Clinical Study Summary
| 4.02.03.01.02 | Clinical Study Report
| 4.02.02.01.03 | Clinical Study Data
| 4.02.04 | Clinical Literature Review and Other Reasonable Known Information
| 4.03 | IRB Approved Informed Consent Forms
| 4.04 | Investigators Sites and IRB contact information
| 4.05 | Other Clinical Evidence
| 4.05.01 | [Study description, study identifier, date of initiation, date of completion]
| 4.05.01.01 | Summary
| 4.05.01.02 | Full Report
| 4.05.01.03 | Statistical Data
CHAPTER 5 – LABELLING AND PROMOTIONAL MATERIAL
| 5.01 | Chapter Table of Contents
| 5.02 | Product/Package Labels
| 5.03 | Package Insert/Instructions for Use
| 5.04 | e-labelling
| 5.05 | Patient Labelling
| 5.06 | Technical/Operators Manual
| 5.07 | Product Brochures
| 5.08 | Other Labelling and Promotional Material
| CHAPTER 6A – QUALITY MANAGEMENT SYSTEM PROCEDURES |  |  | IMDRF/SaMD WG/N23 FINAL: 2015 “Software as a Medical Device”: Application of Quality Management System
| 6A.01 | Cover Letter
| 6A.02 | Chapter Table of Contents
| 6A.03 | Administrative
| 6A.03.01 | Product Descriptive Information
| 6A.03.02 | General Manufacturing Information
| 6A.03.03 | Required Forms
| 6A.04 | Quality management system procedures
| 6A.05 | Management responsibilities procedures
| 6A.06 | Resource management procedures
| 6A.07 | Product realization procedures
| 6A.08 | Design and development procedures
| 6A.09 | Purchasing procedures
| 6A.10 | Production and service controls procedures
| 6A.11 | Control of monitoring and measuring devices procedures
| 6A.12 | QMS measurement, analysis and improvement procedures
| 6A.13 | Other Quality System Procedures Information
CHAPTER 6B – QUALITY MANAGEMENT SYSTEM DEVICE SPECIFIC INFORMATION
| 6B.01 | Chapter Table of Contents
| 6B.02 | Quality management system information
| 6B.03 | Management responsibilities information
| 6B.04 | Resource management information
| 6B.05 | Device Specific Quality Plan
| 6B.06 | Product realization information
| 6B.07 | Design and development information
| 6B.08 | Purchasing information
| 6B.09 | Production and service controls information
| 6B.10 | Control of monitoring and measuring devices information
| 6B.11 | QMS measurement, analysis and improvement information
| 6B.12 | Other Device Specific Quality Management System Information

## MD001
SHS | Docs required for MD001 Application for License to Manufacture class D medical device
|  | Notes | Reference
Cover letter
| Application form 6.21 (excel ) | Need GMDN code and descriptor for the product
Application form 6.21 (pdf )
| Proof Payment License Application Fee | See SAHPRA payment guideline (May 2021) | Microsoft Word - SAHPRA_Payment_Guideline.docx
| 25200 | Fees due - Gov Gazette | 44026_22-12_Health.pdf (sahpra.org.za)
| CV of Authorised Rep (AR) & Letter of appointment of AR | Template for Letter of Appointment
| Quality Manual | To be prepared for Company
Motivation for local manufacture as per MD013 for locally manufactured COVID-19 test kits

## NRL
Performance Evaluation by NRL - MD011 22July2020 (clause 12 & 13 - locally manufactured)
Contact Person:
Prof Lesley Scott | Lesley.scott@Wits.ac.za

## Path Labs
SHS | Name | Private / State | Contact Person
| National Health Laboratory Service (NHLS) | Gov | CEO Ms Patience Dabula | patience.dabula@nhls.ac.za. |  | +27 11 3866147
| NRL | Wits University | Prof Lesley Scott | Lesley.scott@Wits.ac.za |  | +27 11 717 1000
| NICD |  | Prof Adrien Puren
| Ampath | Private |  |  | Head Office Centurion | +27 12 678 0700
|  |  | Ampath Clinical Trials | izette@ampath.co.za |  | +27 12 678 1375
| Lancet Labs | Private | Managing Partner: Dr Van Deventer |  | Head Office Richmond Jhb | +27 11 358 0800
CEO Peter Cole (tbc)
|  |  | Clinton Naidoo (Procurement) |  | Head Office Richmond Jhb | +27 11 358 0800
| PathCare | Private | Dr John Stanfliet (Clinical Trials) |  | Reference Lab Goodwood | +27 21 596 3400; +27 21 596 3587
John Douglas (CEO)